# Quantitative Characterization of Retinal Features in Translated OCTA

**Rashadul Hasan Badhon1, Atalie Carina Thompson2, Jennifer I. Lim3, Theodore Leng4, Minhaj Nur Alam1, \***

**1** *Department of Electrical and Computer Engineering, University of North Carolina at Charlotte, Charlotte, NC, United States*

**2** *Department of Surgical Ophthalmology, Atrium-Health Wake Forest Baptist, Winston-Salem, NC, United States*

**3** *Department of Ophthalmology and Visual Science, University of Illinois at Chicago, Chicago, IL, United States*

**4** *Department of Ophthalmology, Stanford University School of Medicine, Stanford, CA, United States*

\*Correspondence:

Minhaj Nur Alam, PhD

9201 university city boulevard, Charlotte, NC 28223

minhaj.alam@charlotte.edu

**Word count:** 5177

**Funding: Supported by NEI R15EY035804 (MNA) and UNC Charlotte Faculty Research Grant (MNA).**

**Commercial Relationship Disclosure:** There is no commercial relationship from any authors related to this research work.

**Abstract**

**Purpose:** This study explores the feasibility of using generative machine learning (ML) to translate Optical Coherence Tomography (OCT) images into Optical Coherence Tomography Angiography (OCTA) images, potentially bypassing the need for specialized OCTA hardware.

**Methods:** The method involved a generative adversarial network framework that includes a 2D vascular segmentation model and a 2D OCTA image translation model. This framework is designed to enhance the accuracy, resolution, and continuity of vascular regions in the translated OCTA (TR-OCTA) images. The study utilizes a public dataset of 500 patients, divided into subsets based on resolution and disease status, to validate the quality of TR-OCTA images. The validation employs several quality and quantitative metrics to compare the translated images with ground truth OCTAs (GT-OCTA).

**Result:** TR-OCTAs showed high image quality in both 3 and 6 mm datasets (high-resolution, moderate structural similarity and contrast quality compared to GT-OCTAs). There were slight discrepancies in vascular metrics, especially in diseased patients. Blood vessel features like tortuosity and vessel perimeter index showed a better trend compared to density features which are affected by local vascular distortions.

**Conclusion:** This study presents a promising solution to the limitations of OCTA adoption in clinical practice by using ML to translate OCT data into OCTA images.

**Translation relevance:** This study has the potential to significantly enhance the diagnostic process for retinal diseases by making detailed vascular imaging more widely available and reducing dependency on costly OCTA equipment.

Optical Coherence Tomography (OCT) is a cutting-edge medical imaging technology that has revolutionized our ability to observe and comprehend the complex structures of the human body. It is non-invasive and capable of providing highly detailed in-depth retinal pathologies. It generates high-resolution cross-sectional images of tissues using low-coherence light, therefore has been widely adopted in ophthalmic clinical care.1 As a result, OCT has been demonstrated for early identification and monitoring of various retinal illnesses including diabetic retinopathy (DR), age-related macular degeneration (AMD) and glaucoma that cannot be obtained by any other non-invasive diagnostic technique.2–8

The rapid development of OCT, growing interest in this field, and its increasing impact in clinical medicine has contributed to its widespread availability. However, due to its non-dynamic imaging technology, OCT cannot visualize blood flow information such as blood vessel caliber or density and remains only limited to capturing structural information.2,9 As a result of this information gap, OCT angiography (OCTA) was developed which can produce volumetric data from choroidal and retinal layers and provide both structural and blood flow information.10,11 OCTA provides a high-resolution image of the retinal vasculature at the capillary level, allowing for reliable detection of microvascular anomalies in diabetic eyes and vascular occlusions. It helps to quantify vascular impairment based on the severity of retinal diseases. In recent years, OCTA has been demonstrated to identify, detect, and predict DR,12–19 AMD,20–22 Glaucoma23 and several other retinal diseases.24–31 Despite the advantages, widespread deployment of OCTA has been limited due to the high device cost.32,33 The additional requirements of hardware and software for an OCTA device pose a financial burden for clinics as well as patients, therefore, there are only a limited number of hospitals and retinal clinics that use OCTA on a daily basis, for routine ophthalmic checkups. Another limitation of OCTA is the process of generating an OCTA scan, which takes longer time and involves repetitive scanning of the retina making the data acquisition harder due to involuntary eye movements and motion artifacts, reducing the quality of OCTA images.33 Due to the limitation of OCTA data, most studies involving OCTA based imaging biomarkers and involving the use of artificial intelligence (AI) are difficult to validate extensively for future clinical deployment.

From literature, a potential solution to this problem can be the utilization of AI and machine learning (ML) to produce OCTA images from the already available OCT data which has been showing promising outcomes.34–38 Incorporating ML for OCTA translation from OCT offers significant advances in ophthalmic diagnostics by increasing angiographic and functional information in existing OCT data. This transition harnesses ML's capability to autonomously analyze OCT scans and generate detailed vascular images, traditionally obtained through OCTA, aligned with OCT information. By doing so, it substantially lowers the barriers to accessing high-resolution vascular imaging, which is crucial for diagnosing and monitoring retinal diseases and provides a robust detection system. Furthermore, ML dependent approaches alleviate some of OCTA's limitations, including its high cost, susceptibility to artifacts from patient movement and the extensive time required for image acquisition.

Different studies have been reported39–41 attempting to leverage ML algorithms for generative-adversarial learning, typically utilizing a UNet for image translation in recent years. However the quality of the translated OCTA (TR-OCTA) is usually sub-optimal and the retinal vascular areas are not refined enough. The first application of this approach was reported by C. S. Lee et al., 201934 to train an algorithm to generate retinal flow maps from OCT images avoiding the needs for labelling but it was limited to capture higher density of deep capillary networks. According to some recent studies,35–37 incorporating textual information or surrounding pixels, it is possible to improve the OCTA image quality. In this paper, we demonstrate a generative-adversarial learning framework-based algorithm for translating OCT data into OCTA. Within this framework, we implement a 2D retinal vascular segmentation model (2DVSeg) and a 2D OCTA image translation (2DTR) model to enhance the accuracy, resolution, and vascular continuity of vascular regions of translated OCTA images.

To validate the quality of the TR OCTAs, we compare them with ground truth (GT) OCTAs and quantify multiple OCTA retinal features: Structural Similarity Index Measure (SSIM), Blood Vessel Density (BVD), Blood Vessel Caliber (BVC), Blood Vessel Tortuosity (BVT), Vessel Perimeter Index (VPI), Fréchet Inception Distance (FID) and patch-based contrast quality index (PCQI). From our observation and statistical analysis, we found that overall, the SSIM values indicate a moderate level of structural similarity between TR-OCTA and GT-OCTA images, with some variability across different patient categories and resolutions however PCQI scores are quite close for both dataset and some deviation in FID scores is noticeable. It was observed that the model generally achieved a slightly better performance in depicting normal and pathological retinal features at the 3mm resolution compared to the 6mm resolution. However, across both resolutions, there were slight discrepancies in quantitative vascular metrics such as BVD, BVC and VPI, highlighting areas where the translation model could be further refined. This analysis underscores the potential of using AI-driven translation models for OCTA image analysis, while also pointing to the need for improvements to enhance the accuracy of vascular feature representation, particularly at varying resolutions.

**Methodology**

The overall methodology of our algorithm is demonstrated in Fig. 1. We first translate OCTA from our OCT data and quantify the retinal features in both GT and TR-OCTAs for validation. Fig. 2 and Fig. 3 show the GT-OCTA and TR-OCTA images for both 3mm and 6mm datasets for diseased as well as normal patients.

|  |
| --- |
|  |
| Fig. 1: Framework of OCT to OCTA translation and characterization of quantitative features |

|  |
| --- |
|  |
| Fig. 2: GT and TR OCTA images from (a) Normal, (b) DR, (c) CNV and (d) AMD patients for 3mm dataset |

|  |
| --- |
|  |
| Fig. 3: GT and TR OCTA images from (a) Normal, (b) DR, (c) CNV and (d) AMD patients for 6mm dataset |

**Dataset**

We used a public dataset of 500 patients containing paired 3D OCT and OCTA volumes, OCTA-500.42 The dataset is divided into 2 subsets according to their resolutions, 3mm and 6mm. The translation algorithm is applied separately to the two subsets for comparison. The datasets are further divided into different diseased patients and normal patients for quantitative feature comparison: SSIM, BVD, caliber BVC, BVT and VPI. This whole dataset contains 6 AMD patients, 5 Choroidal neovascularization (CNV) patients, 29 DR and 160 Normal patients who are divided according to the diseases and compared statistically after evaluating the feature values.

The set contains paired OCT and OCTA volumes from 200 patients with a field of view (FOV) 3mm *×* 2mm *×* 3mm. Each volume has 304 slices with a size of 640px x 304px. The generated projection map is of 256px x 256px size. The whole dataset is divided into a 70-30% split: 140, 10 and 50 volumes for training, validation and test sets respectively. Similarly, this set contains paired OCT and OCTA volumes from 300 patients with FOV of 6mm *×* 2mm *×* 6mm. Each volume is of size 640px *×* 400px, containing 400 slices and generated projection maps are of size 256px x 256px. Similar to 3mm set: 180, 20 and 100 volumes are split as training, validation and test sets. The 6mm dataset contains 43 AMD, 11 CNV, 14 Central serous chorioretinopathy (CSC), 35 DR, 10 Retinal vein occlusion (RVO), 91 Normal and 96 other retinal pathology-affected patients for which a similar statistical evaluation is carried out and feature values are calculated.

**Translation algorithm**

The process of OCTA translation from OCT images is carried out in 3 steps (Fig. 1): (a) generating 3D OCTA volumes from paired 3D OCT volumes using conditional generative adversarial network (GAN), (b) improving image quality by focusing only the vascular regions, utilizing the 2DVSeg model, thorough vascular segmentation, (c) preserving contextual information for better quality translated images through a 2D translation model (2DTR) generating 2D paired OCTA maps. The baseline architecture of the translation model is built upon pix2pix, an image translation model,40 but we extended the network to a 3D convolutional neural network for this experiment. The advantage is the ability to handle 3D image volumes with improved quality and enhanced contextual information. The aim of the model is primarily to translate OCT volumes, to its paired OCTA volume as closely as possible to the original clinical images, OCTA volume, **.**4For this project, we have designed a 3D GAN where the 3D generator takes a 3D OCT volume as its input and outputs a corresponding TR-OCTA volume. To effectively distinguish between the original (ground-truth) OCTA volumes and the generated ones, we employ a 3D discriminator. These components are referred to as G3d for the generator and D3d for the discriminator. The calculation of adversarial loss denoted as LTR3d, is based on the formula:

|  |  |
| --- | --- |
| *LTR3d = EY~p(OCTA) [log (D3d(****Y****)] + EX~p(OCT) [log(1- (D3d(G3d(****X****))))]* | (1) |

where ***Y*** is the ground-truth (GT) OCTA volume drawn from its probability distribution *p(OCT A)* and is the input OCT volume from its probability distribution *p(OCT)*. The G3d network processes to yield the TR OCTA volume,. Also, to calculate for each pixel difference between TR-OCTA and GT-OCTA, L1 loss is considered instead of L2 to ensure outliers do not affect the reconstructed slices too much:

|  |  |
| --- | --- |
| *L1 = ||****Y*** *- G3d(****X****)||1* | (2) |

The overall loss for this translation then becomes:

|  |  |
| --- | --- |
| *LGAN3D = LTR3d + L1* | (3) |

Here λ is a loss-balance hyperparameter and it is set to 10 for the experiment.

This model, however, without any modification, poses a pixel ambiguity problem in the learning process as it cannot distinguish between vascular and nonvascular regions. The training is done using overall computational loss hence the model prioritizes minimizing the loss resulting in poor quality translated images especially in the vascular areas. To solve this problem, a 2D vascular segmentation model (Fig. 4) is integrated into the model to help with the improved quality of the vascular regions by utilizing OCTA reflected vascular data. Blood vessel region similarity is the primary focus of this model rather than the background tissue, hence, this vessel segmentation model, with set parameters to govern the accuracy of vessel region formation, has been developed. Aside from the 3D image (*DHW, slice width*), 2D projection (*DW*) of OCTA volume can also visualize vascular architecture. These projection maps are created by averaging the values of pixels along the H dimension, denoted by *Proj()*  and we have the maps, :

|  |  |
| --- | --- |
| *= Proj ()* | (4) |

Based on empirical findings, optimizing 3D translational loss (Eq. 3) may not be adequate to provide high quality TR-OCTA projection maps mainly due to the accumulation of errors during the production of projection maps of TR-OCTA volumes using Eq. 4.As a result, we proceeded with a 2D adversarial loss (*LAdv2d*) and an L1 loss (*Lproj*) to improve the similarity between the GT-OCTA and TR-OCTA projection maps. We used the projection function *Proj()* on the GT-OCTA volume and the TR-OCTA volume to get the appropriate GT and TR

A diagram of a projector

Description automatically generated

Fig. 4: 2D Vascular segmentation model

projection maps, indicated as and *,* respectively. The losses are then calculated as:

|  |  |
| --- | --- |
| *LAdv2d = EY~p(OCTA) [log (D2d(****Y****)] + EX~p(OCT) [log(1- (D2d()))]* | (5) |
| *LProj(G3d) = || - ||1* | (6) |

where, G3d is 3D generator, D2d is 2D discriminator for GT and TR-OCTA projection maps and

|  |  |
| --- | --- |
| *= Proj ()* |  |
| *= Proj () = Proj (G3d (****X****))* | (7) |

Since the lack of vessel information results in poor quality vascular areas in TR-OCTA projection maps, we utilized a vascular segmentation model that focuses on the vascular areas during the 3D volume translation process. First, a vascular segmentation model Vseg(), is pretrained on OCTA projection maps with annotated vessel labels and then used to extract semantic vascular segmentation logits, designated as **l**vas and vas for GT and TR-OCTA projection maps. L1 loss is used to find the discrepancy between those two:

|  |  |
| --- | --- |
| *vas = Vseg (Proj()))* | (8) |
| *vas = Vseg (Proj(G3d()))* |
| *Lvas\_seg = ||vas - vas||1* | (9) |

here, = 5, is set as the weight of segmentation loss. Total loss for the segmentation model is then calculated, L2DVSeg:

|  |  |
| --- | --- |
| *L2DVSeg = LAdv2d +LProj(G3d) + Lvas\_seg* | (10) |

A diagram of a process

Description automatically generated

Fig. 5: 2D Translation model

The limitation of Eq. 6 affects the GT 2D OCTA projection maps, resulting in incomplete vessels in the TR images from GT because GT images only provide hard labels for each pixel instead of taking into account nearby contextual information which is critical for interpreting vessels.43 To solve this issue, we utilized a 2D generative translation model (Fig. 5) to build heuristic (suboptimal) 2D OCTA projection maps from their corresponding OCT that can provide heuristic contextual information where output values are affected by the surrounding pixels resulting in outputs with additional contextual information. The pre-trained generator model, G2D acts as a translation model and outputs OCTA projection maps with contextual information, **y**2DTR. L2DTR is calculated between **y**2DTR and 3D generator output projection map, Proj(G3D(**X**)):

|  |  |
| --- | --- |
| *2DTR = G2D (Proj(****X****))* | (11) |
| *L2DTR = || 2DTR - ||1* | (12) |

where = 5, is the weight of L2DTR. The generator G3D and two discriminators D3D, D2D are trained simultaneously during training41 and final loss function is calculated as:

|  |  |
| --- | --- |
| *LTR = LGAN3D + L2DVSeg + L2DTR* | (13) |

and the final objective function

|  |  |
| --- | --- |
| *G3D\_final = arg* | (14) |

The TR-OCTA maps that were generated were then compared on several quantitative features to the GT projection maps for comparison: BVD, BVC, BVT and VPI. SSIM, FID and PCQI metrics were used to quantify the quality and similarity to GT OCTA maps.

**Metrics and Features**

**SSIM:** SSIM or Structural Similarity Index Measure, is a method for measuring the similarity between two images. SSIM is based on the perception of the human visual system and it considers changes in structural information, luminance and contrast. The idea is that pixels have strong inter-dependencies, especially when they are spatially close. These dependencies carry important information about the structure of the objects in the visual scene.

**BVD**: BVD or vessel area density (VD),44 is the ratio of the blood vessels to the total area measured [26] and can be utilized for identifying early detection of retinal pathologies including DR,45,46 AMD47,48 etc.

|  |  |
| --- | --- |
|  | (15) |

**BVC:** BVC, also named as vessel diameter index49, is calculated as the ratio of vessel area to the vessel length.12 BVC distortion can be used to quantify retinal vascular shrinkage and is typically observed in different retinopathies such as diabetic retinopathy (DR).50

|  |  |
| --- | --- |
|  | (16) |

**BVT**: BVT is defined as a measure of degree of vessel distortion.26,51 During any retinal pathologies, distorted vessel structures can affect the blood flow efficiency and can be measured as:

|  |  |
| --- | --- |
| here, n = total number of vessel branches | (17) |

**VPI:** VPI51 is measured as the ratio of the contour length of the vessel boundaries or vessel perimeter to the total vessel area and has been used for detection of DR and sickle cell retinopathy (SCR) from

OCTA images:

|  |  |
| --- | --- |
|  | (18) |

Statistical Analysis: We performed statistical analysis based on the selected features to quantify the TR-OCTA and measure the quality of the translation. This analysis will help us improve the accuracy and efficiency of the TR-OCTA translated from GT-OCT and GT-OCTA.

**FID & PCQI:** FID score is a metric used to evaluate the quality of images generated by models, such as those produced by GANs. It measures the similarity between two sets of images, typically between a set of generated images and a set of real images, by comparing the statistics of their features extracted by a pre-trained Inception model.52 The FID score calculates the distance between the feature vectors of the real and generated images, using the Fréchet distance (also known as the Wasserstein-2 distance). A lower FID score indicates that the distribution of the generated images is closer to the distribution of the real images, suggesting higher quality and more realistic images.

PCQI is another metric designed to assess the quality of images by focusing on local contrast changes, which are crucial for visual perception, especially in textured regions.53 Unlike many traditional image quality metrics that evaluate images globally, PCQI operates on small, localized patches of an image, making it particularly effective at capturing and evaluating detailed contrast differences between a reference image and a test image. PCQI calculates the quality score based on three main aspects: patch similarity, contrast distortion, and mean luminance change, within these localized regions. The final score is a weighted sum of these aspects, providing a single quality metric that reflects how perceptually close the test image is to the reference image in terms of local contrast and brightness. A higher PCQI score indicates a better match between the test and reference images, suggesting less contrast distortion and more accurate reproduction of the original image's visual quality.

**Results**

TABLE 1, TABLE 2 and TABLE 3 summarize the translated OCTA quality metric analysis and quantitative OCTA feature analysis for both 3mm and 6mm datasets respectively. For the 3mm dataset, SSIM was found to be ranging from 0.29-0.60 with a mean of 0.48 and 6mm dataset showed SSIM ranging from 0.16-0.52 with a mean of 0.42. We also calculated SSIM values for comparing different patient statuses for both datasets. From 3mm: AMD patients show a slightly lower mean SSIM score of 0.4513, CNV patients exhibit an SSIM mean of 0.4754 with a narrower range, DR dataset on the other hand reveals a higher mean SSIM score of 0.4923 and finally, the Normal group shows an SSIM mean of 0.4834. Similarly, when calculated for 6mm: AMD, CNV, CSC, patients with other retinopathies and Normal group showed a close SSIM mean within a range of 0.41-0.42 with exceptions of DR patients having slightly higher SSIM (0.43) and RVO having smaller mean of 0.36. Furthermore, TABLE 3 presents FID and PCQI scores for OCTA datasets at two different resolutions, 3mm and 6mm. FID shows a lower score (35.88) for the 3mm dataset, indicating closer resemblance to real images compared to the 6mm dataset, which has a higher FID score of 49.06. On the other hand, the PCQI scores, assessing image quality in terms of contrast and sharpness, are comparably high for both datasets, with the 3mm dataset slightly outperforming the 6mm dataset (0.99795±0.000457 vs. 0.99778±0.000539). This suggests that, despite the higher FID score, the 6mm dataset maintains a high level of contrast quality, albeit slightly lower than its 3mm counterpart.

Two-tail T-tests were carried out (α<.05) for BVD, BVC, BVT and VPI (3mm complete dataset) but only BVD and BVC proved to be containing statistically similar values: BVD (0.48), BVC (0.45), BVT (1.1) and VPI (1.36). BVD for TR-OCTA and GT-OCTA are 212.31±29.93 vs 210.22±29.044 respectively for the whole dataset. We also calculated BVC: (22.80±0.81 vs 22.75±0.41), BVT: (1.086±0.0064 vs. 1.089±0.0061) and VPI: (26.91±5.47 vs. 31.43±2.35) for TR-OCTA and GT-OCTA respectively. Additionally, these features are calculated separately for different diseased and Normal patients. For AMD, DR and Normal patients, BVD was found to be closely aligned to the results we got for the complete dataset, compared to CNV patients (228.53±22.36; 224.22±16.47). SSIM values were measured within a range of 0.47-0.50 for diseased as well as Normal patients. BVC and BVT had similar values for all cases compared to VPI having a wider difference between TR-OCT and GT-OCT. Overall, TR-BVC, TR-VPI, TR-BVT and TR-BVD values (Fig. 6) are concentrated within a specific range and closer to the GT values for each feature respectively. BVC, VPI and BVD have some outliers, specifically for BVD, some outliers are further away from the lowest value of the BVD range.

For comparison among different diseased and normal patients, Supplemental Fig. 1 (a-d) represents the distribution of BVC, VPI, BVT and BVD feature values for AMD, CNV, DR and Normal subjects respectively. In comparison to other features (Supplemental Materials), BVD is found to contain more outliers for normal patients rather than the diseased patients which was also prominent in the feature values of the whole 3mm dataset. Similarly, for the 6mm dataset (TABLE 2), we performed T-tests (α<.05) for BVD, BVC, VPI and BVT but only BVD was found to have statistically similar values for both TR-OCTA and GT-OCTA images: BVD (0.58), BVC (1.35), BVT (0.006), VPI (8.26). For BVD we calculated 210.80±30.45 and 212.34±37, BVC 22.80±.81and 42.91±1.33, BVT 1.0868±.0065 and 1.088±.007, VPI 24.95±2.969 and 27.937±3.019 for TR-OCTA and GT-OCTA respectively (Fig.6). The 6mm dataset contained central serous chorioretinopathy (CSC), retinal vein occlusion (RVO) and other retinal pathologies that were absent in the 3mm dataset. In a comparative analysis among diseased and normal patients, SSIM and BVD for RVO patients showed a larger deviation compared to other cases when calculated. However, BVC, BVT and VPI were measured having closer values in all cases.

For the complete dataset, Fig. 6 shows the distribution of the feature values for TR-OCTA and GT-OCTA. Similar to the 3mm dataset, BVC, VPI and BVD have more outliers compared to BVT and the distribution is similar to the 3mm dataset. Supplemental Materials include boxplots of BVC, VPI, BVT and BVD feature values of diseased patients as well as normal patients. Supplemental Fig. 2 (a-g) represents feature values for AMD, CNV, CSC, DR, RVO, other retinal pathologies and normal patients. A similar trend of BVD feature having more outliers is noticeable for diseased as well as normal patients in comparison to other features (Appendix B) except RVO.

TABLE 1: Statistical analysis of TR-OCTA compared to GT-OCTA for 3mm dataset.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| OCTA  Dataset | SSIM (Mean & range) | Dataset  (no. of patients) | BVD  (Mean±St.d) | BVC  (Mean±St.d) | BVT  (Mean±St.d) | VPI  (Mean±St.d) |
| TR-OCTA | 0.4835  (0.29-0.60) | Complete (200) | 212.31±29.93 | 22.80±0.81 | 1.086±0.006 | 26.91±5.47 |
| GT-OCTA | 210.22±29.04 | 22.75±0.41 | 1.089±0.006 | 31.43±2.35 |
| TR-OCTA | 0.4513  (0.29-0.55) | AMD (6) | 213.73±20.05 | 22.45±1.03 | 1.087±0.009 | 29.24±1.91 |
| GT-OCTA | 205.46±26.45 | 22.91±0.39 | 1.09±0.003 | 29.69±1.63 |
| TR-OCTA | 0.4754  (0.44-0.52) | CNV (5) | 228.53±22.36 | 22.34±1.04 | 1.087±0.003 | 26.36±3.7 |
| GT-OCTA | 224.22±16.47 | 22.90±0.53 | 1.089±0.005 | 30.26±2.55 |
| TR-OCTA | 0.4923  (0.29-0.59) | DR (29) | 209.07±27.51 | 23.12±0.71 | 1.080±0.007 | 26.92±4.32 |
| GT-OCTA | 210.80±34.82 | 23.14±0.42 | 1.087±0.005 | 28.25±3.55 |
| TR-OCTA | 0.4834  (0.34-.60) | NORMAL (160) | 212.34±30.86 | 22.77±0.81 | 1.086±0.006 | 26.84±5.79 |
| GT-OCTA | 209.86±28.39 | 22.67±0.37 | 1.089±0.006 | 32.11±1.41 |

TABLE 2: Statistical analysis of TR-OCTA compared to GT-OCTA for 6mm dataset.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| OCTA Dataset | SSIM (Mean) | Dataset  (no. of patients) | BVD  (Mean±St.d) | BVC  (Mean±St.d) | BVT  (Mean±St.d) | VPI  (Mean±St.d) |
| TR-OCTA | 0.4175  (0.16-0.52) | Complete (300) | 210.80±30.45 | 44.78±1.37 | 1.087±0.006 | 24.95±2.97 |
| GT-OCTA | 212.34±37 | 42.91±1.33 | 1.088±0.007 | 27.94±3.02 |
| TR-OCTA | 0.4102  (0.30-0.50) | AMD (43) | 210.13±32.07 | 44.28±1.28 | 1.063±0.005 | 24.56±3.32 |
| GT-OCTA | 204.72±35.76 | 42.93±1.44 | 1.063±0.007 | 27.76±3.65 |
| TR-OCTA | 0.4224  (0.38-0.45) | CNV (11) | 213.11±27.01 | 45.00±1.03 | 1.087±0.003 | 24.06±1.63 |
| GT-OCTA | 224.63±46.59 | 42.59±1.03 | 1.089±0.007 | 27.39±3.36 |
| TR-OCTA | 0.4140  (0.32-0.45) | CSC (14) | 209.66±22.43 | 45.12±0.96 | 1.088±0.0064 | 25.08±1.86 |
| GT-OCTA | 215.35±45.51 | 43.08±0.98 | 1.088±0.0063 | 28.59±2.24 |
| TR-OCTA | 0.4329  (0.35-0.52) | DR (35) | 215.09±28.04 | 45.12±1.30 | 1.086±0.0065 | 26.2±2.95 |
| GT-OCTA | 210.66±37.54 | 43.50±1.18 | 1.087±0.0068 | 28.68±3.2 |
| TR-OCTA | 0.3664  (0.26-0.43) | RVO (10) | 228.13±60.63 | 44.13±1.15 | 1.089±0.0079 | 24.82±1.76 |
| GT-OCTA | 239.79±26.76 | 43.09±0.91 | 1.087±0.009 | 27.55±2.89 |
| TR-OCTA | 0.4169  (0.16-0.51) | Others (96) | 207.14±30.19 | 44.88±1.34 | 1.086±0.0062 | 25.19±3.06 |
| GT-OCTA | 213.22±32.52 | 43.06±1.19 | 1.088±0.0073 | 27.74±2.61 |
| TR-OCTA | 0.4212  (0.25-0.49) | Normal (91) | 211.34±27.64 | 44.75±1.50 | 1.087±0.0072 | 24.5±2.97 |
| GT-OCTA | 210.71±39.42 | 42.53±1.51 | 1.089±0.0073 | 27.95±3.13 |

TABLE 3: FID and PCQI scores for the complete datasets of 3mm and 6mm

|  |  |  |
| --- | --- | --- |
| **OCTA Dataset** | **FID** | **PCQI**  (Mean±St.d) |
| 3mm | 35.88 | 0.99795± 0.000457 |
| 6mm | 49.06 | 0.99778± 0.000539 |

|  |  |  |  |
| --- | --- | --- | --- |
| **(a)** | **(b)** | **(c)** | **(d)** |
| **(e)** | **(f)** | **(g)** | **(h)** |

**Fig. 6:** Comparative analysis of 3mm and 6mm dataset. (a)-(d) are BVC, VPI, BVT and BVD values for 3mm. (e)-(h) show BVC, VPI, BVT and BVD values for 6mm.

**Discussion**

Our innovative approach of utilizing generative AI to translate OCT images into OCTA images marks a significant advancement in ophthalmic diagnostics. This study showcases the potential of AI to bridge the gap between OCT's inability to visualize blood flow information and leveraging generative-adversarial learning frameworks for image translation to capture that information. By incorporating models that enhance the resolution of OCTA images and preserve contextual information, the study overcomes previous limitations of OCTA image translation, offering more detailed and accurate vascular imaging. The findings suggest that AI-driven translation models can generate high-quality OCTA images from OCT data (demonstrated using SSIM, FID and PCQI metrics) and the quantitative features generated in TR-OCTA follow a similar trend as in GT-OCTA. This has the potential to significantly improve the accuracy and efficiency of diagnosing and monitoring retinal diseases through OCTA imaging, emphasizing the need for further research and development in this area.

In this paper, we showcase an algorithm for translating OCT data into OCTA utilizing a generative-adversarial learning framework for image translation. In this framework, we implement a two models for enhancing OCTA vascular resolution that stands out as a significant advancement in improving the resolution of OCTA images. The 2DVSeg model enhances the visibility and accuracy of vascular structures within the OCTA images, addressing the critical need for high-quality representation of retinal vasculature for clinical diagnosis. On the other hand, the 2DTR model incorporates heuristic contextual information, effectively overcoming the challenge of information loss or discontinuity in the vascular regions of translated images. This model ensures that the generated OCTA images are not only complete but also enriched with detailed contextual information, thereby improving the overall image resolution and utility in medical diagnostics. Together, these models significantly refine the OCT to OCTA image translation process, offering a solution to the challenges of quality and information loss in translation. From our quantitative and qualitative evaluation we have demonstrated that the translated OCTA show high resolution vasculature and have close similarity with GT-OCTAs.

To further validate the translated OCTA images and show their utility in quantitatively characterizing retinal features, in this study, we presented a comprehensive analysis comparing the performance of GT- OCTA images with those generated by a TR-OCTA across different patient groups, including those with complete data sets, AMD, CNV, DR and normal cases for 2 datasets of 3mm and 6mm resolution. SSIM was utilized as a metric to assess the similarity between TR-OCTA and GT-OCTA images, providing insight into the translation model's ability to replicate key structural features of the retinal vasculature. For the complete dataset of 3mm (TABLE 1) comprising 200 patients, the mean SSIM for TR-OCTA was 0.4835, with a range of 0.29 to 0.60, indicating moderate similarity with GT-OCTA. However, for these TR images we considered two more quality metrics FID and PCQI scores which are more suitable for GAN generated image quality comparison against GT images. We found an FID score of 35.88 for 3mm dataset which is better in comparison to 6mm having a value of 49.06. On the other hand, PCQI scores showed a close similarity between both datasets with mean±st.d of0.99795± 0.000457 and 0.99778± 0.000539 for 3mm and 6mm respectively.

BVD, BVC, BVT and VPI were evaluated, revealing slight discrepancies between TR-OCTA and GT-OCTA, with TR-OCTA exhibiting slightly higher BVD and lower VPI values. In the AMD subgroup (6 patients), TR-OCTA demonstrated a lower mean SSIM of 0.4513 (range: 0.29-0.55) compared to the complete dataset, suggesting a slight reduction in model performance in capturing the intricate vascular changes associated with AMD. This was further evidenced by the slight variations in BVD, BVC, BVT, and VPI between TR-OCTA and GT-OCTA, indicating the model's nuanced sensitivity to pathological alterations in retinal structures. For CNV patients (5 in total), the mean SSIM was 0.4754 (range: 0.44-0.52), reflecting a relatively better performance of the translation model in replicating the vasculature compared to the AMD group but still below the complete dataset's benchmark. This subgroup analysis underscores the model's potential in discerning and translating subtle vascular abnormalities characteristic of CNV. The DR subgroup (29 patients) showcased a mean SSIM of 0.4923 (range: 0.29-0.59), which is closer to the complete dataset's mean, suggesting that the model is relatively adept at mimicking DR-related vascular features. However, slight discrepancies in quantitative vascular metrics between TR-OCTA and GT-OCTA images were observed, indicating room for improvement in the model's accuracy. Lastly, the normal group (160 patients) displayed a mean SSIM of 0.4834 (range: 0.34-0.60), aligning closely with the complete dataset's mean SSIM. This similarity suggests that the translation model is quite effective in replicating normal retinal vasculature, as evidenced by the minor differences in vascular metrics compared to GT-OCTA.

In a detailed analysis of a 6mm OCTA dataset encompassing 300 patients, TR-OCTA images were evaluated for structural similarity against GT-OCTA images and same vascular metrics were analyzed. The overall mean SSIM for the dataset was 0.4175, indicating a moderate resemblance to GT-OCTA images, with specific disparities in vascular metrics suggesting areas where the translation model could be improved. Subgroup analyses revealed nuanced differences in SSIM values across conditions like AMD, CNV, CSC, DR, RVO, other conditions and normal cases, with SSIM values ranging broadly from 0.3664 in RVO patients, highlighting significant translational challenges to 0.4329 in DR patients, where the model performed relatively better. These findings underscore the translation model's variable efficacy across different retinal conditions, pointing to the necessity for further refinement to more accurately capture and replicate the complex vascular features characteristic of various retinal diseases.

Overall, this analysis reveals that while the translation model holds promise in reproducing retinal vasculature across various conditions, there exist minor variations in the accuracy of vascular metrics between TR-OCTA and GT-OCTA images. These discrepancies underscore the necessity for ongoing enhancements to the translation model to achieve higher precision in vascular representation, particularly for pathological conditions where accurate vascular depiction is critical for clinical diagnosis and monitoring. One limitation of this study is that the number of patients varies widely from disease to disease therefore lacking generalization for different pathologies. Another limitation is the resolution of the vascular regions, which vary due to resolution of the dataset itself and dataset containing diseased as well as normal patients for both 3mm and 6mm.

In summary, this study demonstrates the ground-breaking potential of generative AI in enhancing OCT imaging for ophthalmic diagnostics. By developing a novel AI-driven framework for translating OCT images into OCTA images and identifying quantitative features to check the viability of TR-OCTA, this research addresses significant limitations in widespread adoption of OCTA in clinical settings. Despite facing challenges such as generalization for different retinal diseases and difficulty in capturing detailed vascular networks, the study lays a solid foundation for future advancements in multi-modal OCT based retinal disease diagnosis and monitoring. The incorporation of AI not only promises to reduce the dependence on costly OCTA devices but also opens new avenues for accessible and accurate retinal healthcare solutions. Moving forward, it is imperative to refine these AI models to improve the resolution and accuracy of translated OCTA images, ensuring they can reliably support clinical decision-making and contribute to the broader understanding of retinal pathologies.

**References**

1. Bowd C, Zangwill LM, Berry CC, et al. Detecting Early Glaucoma by Assessment of Retinal Nerve Fiber Layer Thickness and Visual Function. *Invest Ophthalmol Vis Sci*. 2001;42(9):1993-2003.

2. Fujimoto J, Swanson E. The Development, Commercialization, and Impact of Optical Coherence Tomography. *Invest Ophthalmol Vis Sci*. 2016;57(9):OCT1-OCT13. doi:10.1167/iovs.16-19963

3. Spaide RF, Fujimoto JG, Waheed NK, Sadda SR, Staurenghi G. Optical coherence tomography angiography. *Prog Retin Eye Res*. 2018;64:1-55. doi:10.1016/j.preteyeres.2017.11.003

4. Yang D, Ran AR, Nguyen TX, et al. Deep Learning in Optical Coherence Tomography Angiography: Current Progress, Challenges, and Future Directions. *Diagnostics*. 2023;13(2):326. doi:10.3390/diagnostics13020326

5. Huang D, Swanson EA, Lin CP, et al. Optical Coherence Tomography. *Science*. 1991;254(5035):1178-1181. doi:10.1126/science.1957169

6. Adhi M, Duker JS. Optical coherence tomography – current and future applications: *Curr Opin Ophthalmol*. 2013;24(3):213-221. doi:10.1097/ICU.0b013e32835f8bf8

7. Sakata LM, DeLeon‐Ortega J, Sakata V, Girkin CA. Optical coherence tomography of the retina and optic nerve – a review. *Clin Experiment Ophthalmol*. 2009;37(1):90-99. doi:10.1111/j.1442-9071.2009.02015.x

8. Drexler W, Fujimoto J. State-of-the-art retinal optical coherence tomography. *Prog Retin Eye Res*. 2008;27(1):45-88. doi:10.1016/j.preteyeres.2007.07.005

9. Li X, Chen H, Qi X, Dou Q, Fu CW, Heng PA. H-DenseUNet: Hybrid Densely Connected UNet for Liver and Tumor Segmentation From CT Volumes. *IEEE Trans Med Imaging*. 2018;37(12):2663-2674. doi:10.1109/TMI.2018.2845918

10. Chalam K, Sambhav K. Optical coherence tomography angiography in retinal diseases. *J Ophthalmic Vis Res*. 2016;11(1):84. doi:10.4103/2008-322X.180709

11. Kim G, Kim J, Choi WJ, Kim C, Lee S. Integrated deep learning framework for accelerated optical coherence tomography angiography. *Sci Rep*. 2022;12(1):1289. doi:10.1038/s41598-022-05281-0

12. Alam M, Zhang Y, Lim JI, Chan RVP, Yang M, Yao X. QUANTITATIVE OPTICAL COHERENCE TOMOGRAPHY ANGIOGRAPHY FEATURES FOR OBJECTIVE CLASSIFICATION AND STAGING OF DIABETIC RETINOPATHY. *Retina*. 2020;40(2):322-332. doi:10.1097/IAE.0000000000002373

13. Le D, Alam M, Yao CK, et al. Transfer Learning for Automated OCTA Detection of Diabetic Retinopathy. *Transl Vis Sci Technol*. 2020;9(2):35. doi:10.1167/tvst.9.2.35

14. Le D, Alam M, Miao BA, Lim JI, Yao X. Fully automated geometric feature analysis in optical coherence tomography angiography for objective classification of diabetic retinopathy. *Biomed Opt Express*. 2019;10(5):2493. doi:10.1364/BOE.10.002493

15. Alam M, Le D, Lim JI, Yao X. VASCULAR COMPLEXITY ANALYSIS IN OPTICAL COHERENCE TOMOGRAPHY ANGIOGRAPHY OF DIABETIC RETINOPATHY. *Retina*. 2021;41(3):538-545. doi:10.1097/IAE.0000000000002874

16. Le D, Alam MN, Lim JI, Chan RVP, Yao X. Deep learning for objective OCTA detection of diabetic retinopathy. In: Manns F, Söderberg PG, Ho A, eds. *Ophthalmic Technologies XXX*. SPIE; 2020:60. doi:10.1117/12.2546586

17. Alam MN, Son T, Toslak D, Lim JI, Yao X. Quantitative artery-vein analysis in optical coherence tomography angiography of diabetic retinopathy. In: Manns F, Söderberg PG, Ho A, eds. *Ophthalmic Technologies XXIX*. SPIE; 2019:1. doi:10.1117/12.2510213

18. Alam MN, Zhang Y, Lim JI, Chan RVP, Yang M, Yao X. Quantitative OCT angiography for computer-aided classification of diabetic retinopathy. *Invest Ophthalmol Vis Sci*. 2018;59(9):1224-1224.

19. Alam M, Toslak D, Lim JI, Yao X. Color Fundus Image Guided Artery-Vein Differentiation in Optical Coherence Tomography Angiography. *Investig Opthalmology Vis Sci*. 2018;59(12):4953. doi:10.1167/iovs.18-24831

20. Palejwala NV, Jia Y, Gao SS, et al. DETECTION OF NONEXUDATIVE CHOROIDAL NEOVASCULARIZATION IN AGE-RELATED MACULAR DEGENERATION WITH OPTICAL COHERENCE TOMOGRAPHY ANGIOGRAPHY. *Retina*. 2015;35(11):2204-2211. doi:10.1097/IAE.0000000000000867

21. Burlina PM, Joshi N, Pekala M, Pacheco KD, Freund DE, Bressler NM. Automated Grading of Age-Related Macular Degeneration From Color Fundus Images Using Deep Convolutional Neural Networks. *JAMA Ophthalmol*. 2017;135(11):1170. doi:10.1001/jamaophthalmol.2017.3782

22. Gholami S, Lim JI, Leng T, Ong SSY, Thompson AC, Alam MN. Federated learning for diagnosis of age-related macular degeneration. *Front Med*. 2023;10:1259017. doi:10.3389/fmed.2023.1259017

23. Holló G. Vessel Density Calculated from OCT Angiography in 3 Peripapillary Sectors in Normal, Ocular Hypertensive, and Glaucoma Eyes. *Eur J Ophthalmol*. 2016;26(3):e42-e45. doi:10.5301/ejo.5000717

24. Hsieh YT, Alam MN, Le D, et al. OCT Angiography Biomarkers for Predicting Visual Outcomes after Ranibizumab Treatment for Diabetic Macular Edema. *Ophthalmol Retina*. 2019;3(10):826-834. doi:10.1016/j.oret.2019.04.027

25. Alam M, Thapa D, Lim JI, Cao D, Yao X. Quantitative characteristics of sickle cell retinopathy in optical coherence tomography angiography. *Biomed Opt Express*. 2017;8(3):1741. doi:10.1364/BOE.8.001741

26. Alam M, Thapa D, Lim JI, Cao D, Yao X. Computer-aided classification of sickle cell retinopathy using quantitative features in optical coherence tomography angiography. *Biomed Opt Express*. 2017;8(9):4206. doi:10.1364/BOE.8.004206

27. Alam M, Lim JI, Toslak D, Yao X. Differential Artery–Vein Analysis Improves the Performance of OCTA Staging of Sickle Cell Retinopathy. *Transl Vis Sci Technol*. 2019;8(2):3. doi:10.1167/tvst.8.2.3

28. Zahid S, Alam MN, Yao X, Lim JI. Quantitative Optical Coherence Tomography Angiography Parameters in Central Retinal Vein Occlusion. *Invest Ophthalmol Vis Sci*. 2018;59(9):5427-5427.

29. Chen JL, Zahid S, Alam MN, Yao X, Lim JI. Assessment of Quantitative Optical Coherence Tomography Angiography Parameters in Branch Retinal Vein Occlusion and Monitoring Response to Treatment. *Invest Ophthalmol Vis Sci*. 2018;59(9):5458-5458.

30. Alam MN, Thapa D, Lim JI, Cao D, Yao X. Automatic classification of sickle cell retinopathy using quantitative features in optical coherence tomography angiography. *Invest Ophthalmol Vis Sci*. 2017;58(8):1679-1679.

31. Wang J, Hormel TT, Tsuboi K, et al. Deep Learning for Diagnosing and Segmenting Choroidal Neovascularization in OCT Angiography in a Large Real-World Data Set. *Transl Vis Sci Technol*. 2023;12(4):15. doi:10.1167/tvst.12.4.15

32. Lin L, Wang Z, Wu J, et al. BSDA-Net: A Boundary Shape and Distance Aware Joint Learning Framework for Segmenting and Classifying OCTA Images. In: De Bruijne M, Cattin PC, Cotin S, et al., eds. *Medical Image Computing and Computer Assisted Intervention – MICCAI 2021*. Vol 12908. Lecture Notes in Computer Science. Springer International Publishing; 2021:65-75. doi:10.1007/978-3-030-87237-3\_7

33. Anvari P, Ashrafkhorasani M, Habibi A, Ghasemi Falavarjani K. Artifacts in Optical Coherence Tomography Angiography. *J Ophthalmic Vis Res*. Published online April 29, 2021. doi:10.18502/jovr.v16i2.9091

34. Lee CS, Tyring AJ, Wu Y, et al. Generating retinal flow maps from structural optical coherence tomography with artificial intelligence. *Sci Rep*. 2019;9(1):5694. doi:10.1038/s41598-019-42042-y

35. Zhang Z, Ji Z, Chen Q, Yuan S, Fan W. Texture-Guided U-Net for OCT-to-OCTA Generation. In: Ma H, Wang L, Zhang C, et al., eds. *Pattern Recognition and Computer Vision*. Vol 13022. Lecture Notes in Computer Science. Springer International Publishing; 2021:42-52. doi:10.1007/978-3-030-88013-2\_4

36. Li S, Zhang D, Li X, et al. Vessel-Promoted OCT to OCTA Image Translation by Heuristic Contextual Constraints. Published online March 12, 2023. Accessed February 20, 2024. http://arxiv.org/abs/2303.06807

37. Li PL, O’Neil C, Saberi S, et al. Deep learning algorithm for generating optical coherence tomography angiography (OCTA) maps of the retinal vasculature. In: Zelinski ME, Taha TM, Howe J, Awwal AA, Iftekharuddin KM, eds. *Applications of Machine Learning 2020*. SPIE; 2020:8. doi:10.1117/12.2568629

38. Valizadegan H, Nguyen Q, Hauskrecht M. Learning classification models from multiple experts. *J Biomed Inform*. 2013;46(6):1125-1135. doi:10.1016/j.jbi.2013.08.007

39. Ronneberger O, Fischer P, Brox T. U-Net: Convolutional Networks for Biomedical Image Segmentation. Published online May 18, 2015. Accessed February 20, 2024. http://arxiv.org/abs/1505.04597

40. Isola P, Zhu JY, Zhou T, Efros AA. Image-to-Image Translation with Conditional Adversarial Networks. Published online November 26, 2018. Accessed February 20, 2024. http://arxiv.org/abs/1611.07004

41. Zhu JY, Park T, Isola P, Efros AA. Unpaired Image-to-Image Translation using Cycle-Consistent Adversarial Networks. Published online August 24, 2020. Accessed February 20, 2024. http://arxiv.org/abs/1703.10593

42. Li M, Huang K, Xu Q, et al. OCTA-500: A Retinal Dataset for Optical Coherence Tomography Angiography Study. Published online December 25, 2022. Accessed February 20, 2024. http://arxiv.org/abs/2012.07261

43. Shen D, Liu T, Peters TM, et al., eds. *Medical Image Computing and Computer Assisted Intervention – MICCAI 2019: 22nd International Conference, Shenzhen, China, October 13-17, 2019: Proceedings. Part 1*. Springer; 2019.

44. Chao SC, Yang SJ, Chen HC, Sun CC, Liu CH, Lee CY. Early Macular Angiography among Patients with Glaucoma, Ocular Hypertension, and Normal Subjects. *J Ophthalmol*. 2019;2019:1-7. doi:10.1155/2019/7419470

45. Pedinielli A, Bonnin S, Sanharawi ME, et al. Three Different Optical Coherence Tomography Angiography Measurement Methods for Assessing Capillary Density Changes in Diabetic Retinopathy. *Ophthalmic Surg Lasers Imaging Retina*. 2017;48(5):378-384. doi:10.3928/23258160-20170428-03

46. Foveal avascular zone area and parafoveal vessel density measurements in different stages of diabetic retinopathy by optical coherence tomography angiography. *Int J Ophthalmol*. Published online October 18, 2017. doi:10.18240/ijo.2017.10.11

47. Jhaj G, Glazman S, Shrier EM, Bodis-Wollner I. Non-Exudative Age-Related Macular Degeneration Foveal Avascular Zone Area, Foveal Vessel Density, and Ganglion Cell Complex Thickness. *Invest Ophthalmol Vis Sci*. 2017;58(8):36-36.

48. Al-Sheikh M, Iafe NA, Phasukkijwatana N, Sadda SR, Sarraf D. BIOMARKERS OF NEOVASCULAR ACTIVITY IN AGE-RELATED MACULAR DEGENERATION USING OPTICAL COHERENCE TOMOGRAPHY ANGIOGRAPHY. *Retina*. 2018;38(2):220-230. doi:10.1097/IAE.0000000000001628

49. Akagi T, Uji A, Huang AS, et al. Conjunctival and Intrascleral Vasculatures Assessed Using Anterior Segment Optical Coherence Tomography Angiography in Normal Eyes. *Am J Ophthalmol*. 2018;196:1-9. doi:10.1016/j.ajo.2018.08.009

50. Ye H, Zheng C, Lan X, et al. Evaluation of retinal vasculature before and after treatment of children with obstructive sleep apnea-hypopnea syndrome by optical coherence tomography angiography. *Graefes Arch Clin Exp Ophthalmol*. 2019;257(3):543-548. doi:10.1007/s00417-018-04207-9

51. Chu Z, Lin J, Gao C, et al. Quantitative assessment of the retinal microvasculature using optical coherence tomography angiography. *J Biomed Opt*. 2016;21(6):066008. doi:10.1117/1.JBO.21.6.066008

52. Heusel M, Ramsauer H, Unterthiner T, Nessler B, Hochreiter S. GANs Trained by a Two Time-Scale Update Rule Converge to a Local Nash Equilibrium. Published online 2017. doi:10.48550/ARXIV.1706.08500

53. Wang S, Ma K, Yeganeh H, Wang Z, Lin W. A Patch-Structure Representation Method for Quality Assessment of Contrast Changed Images. *IEEE Signal Process Lett*. 2015;22(12):2387-2390. doi:10.1109/LSP.2015.2487369

**Supplemental Materials:**

|  |  |  |  |
| --- | --- | --- | --- |
| **a(i)** | **a(ii)** | **a(iii)**A screenshot of a graph  Description automatically generated | **a(iv)** |
|  |  |  |  |
| **b(i)** | **b(ii)** | **b(iii)** | **b(iv)** |
|  |  |  |  |
| **c(i)** | **c(ii)** | **c(iii)** | **c(iv)** |
| **d(i)** | **d(ii)** | **d(iii)**A screenshot of a graph  Description automatically generated | **d(iv)**A screen shot of a graph  Description automatically generated |

Supplemental Fig. 1: (a)-(d) show BVC, VPI, BVT and BVD for the 3mm dataset with different patient conditions. a(i-iv) are AMD patients, b(i-iv) are CNV patients, c(i-iv) are DR patients. d(i-iv) are Normal patients.

|  |  |  |  |
| --- | --- | --- | --- |
| **a(i)** | **a(ii)** | **a(iii)** | **a(iv)** |
|  |  |  |  |
| **b(i)** | **b(ii)**A screenshot of a graph  Description automatically generated | **b(iii)** | **b(iv)** |
|  |  |  |  |
| **c(i)** | **c(ii)**A screenshot of a graph  Description automatically generated | **c(iii)**A screenshot of a graph  Description automatically generated | **c(iv)** |
| **d(i)**A screenshot of a graph  Description automatically generated | **d(ii)**A screenshot of a graph  Description automatically generated | **d(iii)**A screenshot of a graph  Description automatically generated | **d(iv)**A screenshot of a graph  Description automatically generated |
|  |  |  |  |
| **e(i)**A screenshot of a graph  Description automatically generated | **e(ii)**A screenshot of a graph  Description automatically generated | **e(iii)**A screenshot of a graph  Description automatically generated | **e(iv)**A screenshot of a graph  Description automatically generated |
|  |  |  |  |
| **f(i)**A screenshot of a graph  Description automatically generated | **f(ii)**A screenshot of a graph  Description automatically generated | **f(iii)** | **f(iv)** |
| **g(i)** | **g(ii)** | **g(iii)** | **g(iv)** |

Supplemental Fig. 2: (a)-(g) show BVC, VPI, BVT and BVD for the 6mm dataset with different patient conditions. a(i-iv) are AMD patients, b(i-iv) are CNV patients, c(i-iv) are CSC patients, d(i-iv) are DR patients, e(i-iv) are RVO patients, f(i-iv) are patients with other retinal pathologies, g(i-iv) are Normal patients.